## Sheet1
No | XX | Plant | FUNCTIONAL LOCATION | DESCRIPTION | EQUIPMENT NO. | EQUIPMENT DESC. | COMPONENT | DRAWINGNUMBER | POSNO. | PART NO. | NO | PART DESCRIPTION | Noun | Modifier | QTY | UOM | TYPE | SIZE | PRESSURE RATING | MATERIAL | MANUFACTURE | ATRIBUTE 1 | ATRIBUTE 2 | ATRIBUTE 3 | ATRIBUTE 4 | MATERIAL NO. | SPARE PART NAME (SHORT) | SPARE PART NAME (LONG) | QTY | UOM | MPI | CLASSIFICATION |  |  | MRP TYPE |  | APPROVAL
[32 empty] | I | O | C | V1 | PD | SECTION
1 | 1 | Serang | WW.02.MAJ01.BN002 | GRS TRAIN B | 1000000271 | PIPE (2ACW064) |  | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 14 IN |  | FRP |  | PRESS: 150LB | T: 6.0MM | PIPE (2ACW064) |  | 1000000271 | #REF! | PIPE: 14 IN, FRP, PRESS: 150LB, T: 6.0MM, PIPE (2ACW064), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD |  | 1
2 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 14 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | GRS B CW MAIN STOP VALVE (2-ACWV008B) |  | 1000000277 | #REF! | VALVE: BUTTERFLY, 14 IN, A126CL.B, CF3M, RUB, PRESS: 150LB, PROSSES CONN: WF, GRS B CW MAIN STOP VALVE (2-ACWV008B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
3 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 14 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | A2_ACWV008B GRS B CW MAIN STOP VLV ACT |  | 1000003386 | #REF! | VALVE: BUTTERFLY, 14 IN, A126CL.B, CF3M, RUB, PRESS: 150LB, PROSSES CONN: WF, A2_ACWV008B GRS B CW MAIN STOP VLV ACT, DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
4 |  |  |  |  | 1000000315 | PIPE (2AS202B) |  | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 8 IN | SCH 40 | ASTM A53-GR.B OR ASTM A106-GR.B, SMLS |  | PRESS: 150LB |  |  |  | 9913058095 | #REF! | PIPE: LINE, SIZE 8 IN, STRUCTURE SEAMLESS, RATING SCH 40, MATERIAL CARBON STEEL, SPECIFICATION ASTM A106-B, GRADE B, LENGTH 2.4M, ENDS GROOVED, FINISH HOT DIP GALVANIZED, INDUSTRY STANDARD ASME B36.10 | 1 | JT | B |  | OP |  |  | PD | MATENG
5 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | GATE | 1 | SET |  | 6 IN |  | WCB, STEEL |  | PRESS: 150LB | PROSSES CONN: FL | 1ST EJECT STEAM STOP VALVE B (2-ASV101B) |  | 1000000324 | #REF! | VALVE: WEDGE GATE, 6 IN, WCB, STEL, PRESS: 150LB, PROSSES CONN: FL, 1ST EJECT STEAM STOP VALVE B (2-ASV101B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
6 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 2 IN |  | ASTM A312-TP316L |  | Sch40 |  | PIPE (2AS602B) |  | 1000000318 | #REF! | PIPE: 2 IN, A312 TP316L, SCH40, PIPE (2AS602B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
7 | [11 empty] | ACTUATOR | ACTUATOR |  | 1 | EA | ZS, KEYSTONE 792 |  |  |  | TYCO VALVE CONTROL |  |  | ACTUATOR (2-ASV101B-A) |  | 1000000325 | #REF! | ACTUATOR: ZS, KEYSTONE 792, ACTUATOR (2-ASV101B-A), TYCO VALVE CONTROL | 1 | EA | B |  | OP |  |  | PD
8 |  |  |  |  | 1000000514 | VESSEL (2-E-203) |  | DWG:WW2-MP-CV-0050 |  |  |  | VESSEL | VESSEL |  | 1 | SET |  | 60 IN | [7 empty] | N/A | #REF! | VESSEL: 60 IN, VESSEL (2-E-203), DWG: WW2-MP-CV-0050 | 1 | SET | B |  | OP |  |  | PD
9 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 10 IN |  | FRP |  | PRESS: 150LB | T: 5.0MM | PIPE (2-ACW067B) |  | 1000000266 | #REF! | PIPE: 10 IN, FRP, PRESS: 150LB, T: 5.0MM, PIPE (2-ACW067B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
10 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 12 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | VALVE (2-ACWV009B) |  | 1000000280 | #REF! | VALVE: BUTTERFLY, 12 IN, A126CL.B, CF3M, RUB, PRESS: 150LB, PROSSES CONN: WF, VALVE (2-ACWV009B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
11 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 16 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | T: S10S | PIPE (2-CV027B) |  | 1000000275 | #REF! | PIPE: 16 IN, A312 TP316L, PRESS: 150LB, T: S10S, PIPE (2-CV027B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
12 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-1513B (PRESSURE GAUGE) |  | 1000001339 | #REF! | PRESSURE GAUGE: LIQUID SS316L, 1/2 IN, PROSSES CONN: NPT, A2-PI-1513B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
13 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | TEMPERATURE GAUGE | THERMOMETER | DIAL | 1 | EA | EN13190-NO LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-TI-1513B (TEMPERATURE GAUGE) |  | 1000001400 | #REF! | TEMPERATURE GAUGE: NO LIQUID- EN13190, 1/2 IN, PROSSES CONN: NPT, A2-TI-1513B (TEMPERATURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
14 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 6 IN | SCH 40 | ASTM A53-GR.B OR ASTM A106-GR.B, SMLS |  | PRESS: 150LB | PIPE (2-AS203B) |  |  | 1000000312 | #REF! | PIPE: 6 IN, ASTM A53, GR.B SML, PRESS: 150LB, T: SCH40, PIPE (2-AS203B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
15 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-0211B (PRESSURE GAUGE) |  | 1000001309 | #REF! | PRESSURE GAUGE: LIQUID SS316L, PROSSES CONN: NPT, A2-PI-0211B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
16 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | EJECTOR | EJECTOR |  | 1 | EA |  | 30 INX30 IN | [5 empty] | EJECTOR (2-EJ-203) |  | 1000000535 | #REF! | EJECTOR: 30 IN X 30 IN, EJECTOR (2-EJ-203), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
17 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | LEVEL SWITCH | SWITCH | LEVEL | 1 | EA | [7 empty] | LEVEL SWITCH (A2_LI_1512B) |  | 1000001281 | #REF! | LEVEL SWITCH: LEVEL SWITCH (A2_LI_1512B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
18 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | [7 empty] | A2-PI-1512B (PRESSURE GAUGE) |  | 1000001336 | #REF! | PRESSURE GAUGE: A2-PI-1512B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
19 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | TEMPERATURE GAUGE | THERMOMETER | DIAL | 1 | EA | TXR-100LE-K360 | 1/2 IN |  |  |  | PROSSES CONN: NPT |  | TEMPERATURE GAUGE (A2_TI_1512B) |  | 1000001397 | #REF! | TEMPERATURE GAUGE: TXR-100LE-K360, 1/2 IN, PROSSES CONN: NPT, TEMPERATURE GAUGE (A2_TI_1512B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
20 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | GRS |  |  | 1 | EA |  | 20 IN |  | FRP |  | PRESS: 150LB | T: 10.7MM | 20-10.7T-FRP,1-F.V.,60-ED011B GRS CDR |  | 1000004184 | #REF! | GRS: 20 IN, FRP, PRESS: 150LB, T: 10.7MM, 20-10.7T-FRP, 1-F.V., 60-ED011B GRS CDR, DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
21 |  |  |  |  | 1000000517 | VESSEL (2-E-206) |  | DWG:WW2-MP-CV-0050 |  |  |  | VESSEL | VESSEL |  | 1 | SET |  | 42 IN | [7 empty] | 1365901151 | #REF! | VESSEL: TYPE BAROMETRIC CONDENSER, SIZE 42 IN DIA X 173 IN H X 9.525MM WT, RATING 150 LB @ 120 DEG C, MATERIAL 316 SS, SPECIAL FEATURES NACE-MR0175, ASME VIII DIV 1, ADDITIONAL EQUIPMENT DATA DWG NO: WW2-ME-CV-0010 (4/11), TAG NO: E-205/E-206 | 1 | SET | B |  | OP |  |  | PD | MATENG
22 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 10 IN |  | FRP |  | PRESS: 150LB | T: 5.0MM | PIPE (2-ACW066B) |  | 1000000263 | #REF! | PIPE: 10 IN, FRP, PRESS: 150LB, T: 5.0MM, PIPE (2-ACW066B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
23 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 8 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | VALVE (2-ACWV010B) |  | 1000000283 | #REF! | VALVE: BUTTERFLY, 8 IN, A126CL.B, CF3M, RUB, PROSSES CONN: WF, PRESS: 150LB, VALVE (2-ACWV010B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
24 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 14 IN, 10 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | T: S10S | Pipe (2-CV028B) |  | 1000000469 | #REF! | PIPE: 14 IN, 10 IN, A312 TP316L, PRESS: 150LB, T: S10S, PIPE (2-CV028B), DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
25 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 4 IN |  | CF8M, TEFLON |  | PROSSES CONN: WF | PRESS: 150LB | VALVE (2-CVV017B) |  | 1000000491 | #REF! | VALVE: BUTTERFLY, 4 IN, CF8M, TEF, PROSSES CONN: WF, PRESS: 150LB, VALVE (2-CVV017B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
26 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-1516B (PRESSURE GAUGE) |  | 1000001345 | #REF! | PRESSURE GAUGE: LIQUID SS316L, 1/2 IN, PROSSES CONN: NPT, A2-PI-1516B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
27 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | EJECTOR | EJECTOR |  | 1 | EA |  | 16 INX18 IN | [5 empty] | EJECTOR (2-EJ-206) |  | 1000000538 | #REF! | EJECTOR: 16 IN X 18 IN, EJECTOR (2-EJ-206), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
28 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | LEVEL SWITCH | SWITCH | LEVEL | 1 | EA | [7 empty] | LEVEL SWITCH (A2_LI_1515B) |  | 1000001284 | #REF! | LEVEL SWITCH: LEVEL SWITCH (A2_LI_1515B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
29 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-1515B (PRESSURE GAUGE) |  | 1000001342 | #REF! | PRESSURE GAUGE: LIQUID SS316L, 1/2 IN, PROSSES CONN: NPT, A2-PI-1515B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
30 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-0212B (PRESSURE GAUGE) |  | 1000001312 | #REF! | PRESSURE GAUGE: LIQUID SS316L, 1/2 IN, PROSSES CONN: NPT, A2-PI-0212B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
31 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | TEMPERATURE GAUGE | THERMOMETER | DIAL | 1 | EA | EN13190-NO LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | TEMPERATURE GAUGE (A2_TI_1515B) |  | 1000001403 | #REF! | TEMPERATURE GAUGE: NO LIQUID- EN13190, 1/2 IN, PROSSES CONN: NPT, TEMPERATURE GAUGE (A2_TI_1515B), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
32 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | GRS CDR |  |  | 1 | EA |  | 16 IN, 12 IN |  | FRP |  | PRESS: 150LB | T: 9.1MM, 7.4MM | 16-9.1T-FRP,1-F.V.,60-ED012B GRS CDR |  | 1000004080 | #REF! | GRS CDR: 16 IN, 12 IN, FRP, PRESS: 150LB, T: 9.1MM, 7.4MM, 16-9.1T-FRP, 1-F.V., 60-ED012B GRS CDR, DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
33 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | GRS EJC | EJECTOR |  | 1 | EA |  | 6 IN | SCH 40 | ASTM A53-GR.B OR ASTM A106-GR.B, SMLS |  | PRESS: 150LB | 6,S40,A53GR.B,14,198-AS204B GRS 2ND EJC | GRS EJC |  | 1000004280 | #REF! | GRS EJC: 6 IN, ASTM A53, GR.B SML, PRESS: 150LB, T: SCH40, 6, S40, A53GR.B, 14, 198-AS204B GRS 2ND EJC, DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
34 |  |  |  |  | 1000002459 | VACUUM PUMP (VP-208B) |  | DWG:E-900594 |  |  |  | PUMP | PUMP |  | 1 | SET | 904L2 |  |  | STAINLESS STEEL | NASH U.S. | BOM NO. N904L22-2HY4-Z |  |  |  | N/A | #REF! | PUMP: 904L2, STAINLESS STEEL, BOM NO. N904L22-2HY4-Z, VACUUM PUMP (VP-208B), DWG: E-900594, NASH | 1 | SET | B |  | OP |  |  | PD
35 | [7 empty] | DWG:E-900594 |  |  |  | GEAR REDUCER | REDUCER | GEAR | 1 | EA | 345A1-A-3.053:1 |  |  |  | FALK |  |  | VP GEARBOX (GR-208B) |  | 1000001660 | #REF! | GEAR REDUCER: 345A1-A-3.053:1, VP GEARBOX (GR-208B), DWG: E-900594, FALK | 1 | EA | B |  | OP |  |  | PD
36 | [7 empty] | DWG:E-900594 |  |  |  | MOTOR | MOTOR | ELECTRIC AC | 1 | EA |  | 110M6 DIA |  |  | FUJI ELECTRIC SYSTEMS CO.,LTD. |  |  | U-2_VACUUM PUMP MOTOR-B |  | 1000001726 | #REF! | MOTOR: DIA 110M6, U-2_VACUUM PUMP MOTOR-B, DWG: E-900594, FUJI ELECTRIC SYSTEMS CO.,LTD. | 1 | SET | B |  | OP |  |  | PD
37 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VCP MOTOR WINDING TEMP. | VCP MOTOR WINDING TEMP. |  | 1 | EA | AS-2939 |  |  |  | OKAZAKI |  |  | A2_TE1540A |  | 1000002800 | #REF! | VCP MOTOR WINDING TEMP.: AS-2939, A2_TE1540A, DWG: WW2-MP-CV-0050, OKAZAKI | 1 | EA | B |  | OP |  |  | PD
38 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VCP MOTOR WINDING TEMP. | VCP MOTOR WINDING TEMP. |  | 1 | EA | AS-2939 |  |  |  | OKAZAKI |  |  | A2_TE1540B |  | 1000002801 | #REF! | VCP MOTOR WINDING TEMP.: AS-2939, A2_TE1540B, DWG: WW2-MP-CV-0050, OKAZAKI | 1 | EA | B |  | OP |  |  | PD
39 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VCP MOTOR WINDING TEMP. | VCP MOTOR WINDING TEMP. |  | 1 | EA | AS-2939 |  |  |  | OKAZAKI |  |  | A2_TE1540C |  | 1000002802 | #REF! | VCP MOTOR WINDING TEMP.: AS-2939, A2_TE1540C, DWG: WW2-MP-CV-0050, OKAZAKI | 1 | EA | B |  | OP |  |  | PD
40 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VCP MOTOR BEARING TEMP. | VCP MOTOR BEARING TEMP. |  | 1 | EA | KQN-4515 |  |  |  | OKAZAKI | PROSSES CONN: PF 3/4 |  | A2_TE1540D |  | 1000002803 | #REF! | VCP MOTOR BEARING TEMP.: KQN-4515, PROSSES CONN: PF 3/4, A2_TE1540D, DWG: WW2-MP-CV-0050, OKAZAKI | 1 | EA | B |  | OP |  |  | PD
41 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VCP MOTOR BEARING TEMP. | VCP MOTOR BEARING TEMP. |  | 1 | EA | KQN-4515 |  |  |  | OKAZAKI | PROSSES CONN: PF 3/4 |  | A2_TE1540E |  | 1000002804 | #REF! | VCP MOTOR BEARING TEMP.: KQN-4515, PROSSES CONN: PF 3/4, A2_TE1540E, DWG: WW2-MP-CV-0050, OKAZAKI | 1 | EA | B |  | OP |  |  | PD
42 | [11 empty] | SEAL WATER SEPARATOR | SEAL |  | 1 | EA |  | 42 IN | [5 empty] | SEP-210 SEAL WATER SEPARATOR |  | 1000003837 | #REF! | SEAL WATER SEPARATOR: 42 IN, SEP-210 SEAL WATER SEPARATOR | 1 | EA | B |  | OP |  |  | PD
43 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | LEVEL GAUGE | GAUGE | LEVEL | 1 | EA | [7 empty] | LEVEL GAUGE (A2_LI_1521B) |  | 1000001287 | #REF! | LEVEL GAUGE: LEVEL GAUGE (A2_LI_1521B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
44 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | LEVEL SWITCH | SWITCH | LEVEL | 1 | EA | SLG3-MARGL |  |  |  | FUSHIMAN | PROSSES CONN: 1×Sch40 SOKET |  | LEVEL SWITCH (A2_LS_1521B) |  | 1000001293 | #REF! | LEVEL SWITCH: SLG3MARGL, PROSSES CONN: 1×SCH40 SOKET, LEVEL SWITCH (A2_LS_1521B), DWG: WW2-MP-CV-0050, FUSHIMAN | 1 | EA | B |  | OP |  |  | PD
45 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-1521B (PRESSURE GAUGE) |  | 1000001348 | #REF! | PRESSURE GAUGE: LIQUID SS316L, PROSSES CONN: NPT 1/2, A2-PI-1521B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
46 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | TEMPERATURE GAUGE | THERMOMETER | DIAL | 1 | EA | EN13190-NO LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | TEMPERATURE GAUGE (A2_TI_1521B) |  | 1000001406 | #REF! | TEMPERATURE GAUGE: NO LIQUID- EN13190, PROSSES CONN: NPT 1/2, TEMPERATURE GAUGE (A2_TI_1521B), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
47 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | NCG EXHAUST | EXHAUST |  | 1 | EA |  | 12 IN |  | FRP |  | PRESS: 150LB | T: 5.4MM | 12,5.4T,FRP,1.0,60-CV031B NCG EXHAUST |  | 1000004065 | #REF! | NCG EXHAUST: 12 IN, FRP, PRESS: 150LB, T: 5.4MM, 12, 5.4T, FRP, 1.0, 60-CV031B NCG EXHAUST, DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
48 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | CHECK | 1 | SET |  | 12 IN |  | BODY: SSF316L, DISK: WP316L, SEAT: STEEL |  | PROSSES CONN: WF | PRESS: 150LB | VALVE (2-CVV002B) |  | 1000000486 | #REF! | VALVE: CHECK VALVEECK, 12 IN, BODY: SUSF316L, DISK: WP316L, SEAT: STEL, PROSSES CONN: WF, PRESS: 150LB, VALVE (2-CVV002B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
49 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 12 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | GAS OUTLET VALVE TRAIN B (2-CVV019B) |  | 1000000494 | #REF! | VALVE: BUTTERFLY, 12 IN, BODY: A126CL.B, DISK: CF8M, SEAT: RUB, PROSSES CONN: WF, GAS OUTLET VALVE TRAIN B (2-CVV019B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
50 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 2 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | T: Sch40 | 2-S40-A12TP316L-4.0,50-ACW068B ACW PIPE |  | 1000004128 | #REF! | PIPE: 2 IN, A312 TP316L, PRESS: 150LB, T: SCH40, 2-S40-A12TP316L-4.0, 50-ACW068B ACW PIPE, DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
51 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | FLOW SWITCH | SWITCH | FLOW | 1 | EA | [7 empty] | FLOW SWITCH (A2_FS_1346B) |  | 1000001277 | #REF! | FLOW SWITCH: FLOW SWITCH (A2_FS_1346B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
52 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | [7 empty] | PRESSURE GAUGE (A2_PI_1345B) |  | 1000001327 | #REF! | PRESSURE GAUGE: PRESSURE GAUGE (A2_PI_1345B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
53 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | [7 empty] | PRESSURE GAUGE (A2_PI_1346B) |  | 1000001329 | #REF! | PRESSURE GAUGE: PRESSURE GAUGE (A2_PI_1346B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
54 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | [7 empty] | PRESSURE GAUGE (A2_PI_1347B) |  | 1000001331 | #REF! | PRESSURE GAUGE: PRESSURE GAUGE (A2_PI_1347B), DWG: WW2-MP-CV-0050 | 1 | EA | B |  | OP |  |  | PD
55 |  |  |  |  | 1000004225 | 30,9.5T,A312TP316L,F,V.,50-CV026B NCG |  | DWG:WW2-MP-CV-0050 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 30 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | T: 9.5MM |  |  | N/A | #REF! | PIPE: 30 IN, A312 TP316L, PRESS: 150LB, T: 9.5MM, 30, 9.5T, A312TP316L, F, V., 50-CV026B NCG, DWG: WW2-MP-CV-0050 | 1 | M | B |  | OP |  |  | PD
56 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | GATE | 1 | SET |  | 30 IN |  | BODY&DISK: CF3M, SEAT: STEEL |  | PRESS: 150LB | VALVE (2-CVV001B) |  |  | 1000000481 | #REF! | VALVE: WEDGE GATE, 30 IN, BODY&DISK: CF3M, SEAT: STEL, PRESS: 150LB, VALVE (2-CVV001B), DWG: WWP-MP-0070 | 1 | EA | B |  | OP |  |  | PD
57 | [11 empty] | ACTUATOR | ACTUATOR |  | 1 | EA | [5 empty] | ACTUATOR (X-CVV001B-A) |  |  |  | 1000000482 | #REF! | ACTUATOR: ACTUATOR (X-CVV001B-A) | 1 | EA | B |  | OP |  |  | PD
58 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | PRESSURE GAUGE | GAUGE | PRESSURE | 1 | EA | LIQUID | 1/2 IN |  | SS316L | NESS | PROSSES CONN: NPT |  | A2-PI-1510B (PRESSURE GAUGE) |  | 1000001333 | #REF! | PRESSURE GAUGE: LIQUID SS316L, 1/2 IN, PROSSES CONN: NPT, A2-PI-1510B (PRESSURE GAUGE), DWG: WW2-MP-CV-0050, NESS | 1 | EA | B |  | OP |  |  | PD
59 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VALVE | VALVE | GLOBE | 1 | SET |  | 1 IN |  | BODY: CF3M, DISK: A182-F316L, SEAT: STEELITE |  | PROSSES CONN: WF | PRESS: 600LB | U-SEAL PIPE DRAIN VALVE |  | 1000005703 | VALVE:GLOBE,1 IN,EJECTOR DRAIN,600 LB,1.0/FV BARG,60 DEG.C,MATL. BODY:CF3M,MATL. DISC:A182-F316L,MATL. SEAT:STELLITE,SW,WW2-ME-PS-4522 (15/45) | VALVE: GLOBE, 1 IN, EJECTOR DRAIN, 600 LB, 1.0/FV BARG, 60 DEG.C, MATL. BODY: CF3M, MATL. DISC: A182-F316L, MATL. SEAT: STELLITE, SW, WW2-ME-PS-4522 (15/45) | 1 | M | B |  | OP |  |  | PD
60 | [7 empty] | DWG:WW2-MP-CV-0050 |  |  |  | VALVE | VALVE | BALL | 1 | SET |  | 1 IN |  | BODY: CF8M, DISK: S.S, SEAT: STEELITE |  | PROSSES CONN: SCR | PRESS: 600LB | A2-LI-1512A ROOT VALVE |  | 1000016917 | VALVE:BALL,1 IN,EJECTOR DRAIN,600 LB,1.0/FV BARG,60 DEG.C,MATL. BODY:CF8M,MATL. DISC:S.S,MATL. SEAT:STELLITE,SCR,WW2-ME-PS-4522 (30/45) | VALVE: BALL, 1 IN, EJECTOR DRAIN, 600 LB, 1.0/FV BARG, 60 DEG.C, MATL. BODY: CF8M, MATL. DISC: S.S, MATL. SEAT: STELLITE, SCR, WW2-ME-PS-4522 (30/45) | 1 | EA | B |  | OP |  |  | PD
61 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | EJECTOR | EJECTOR |  | 1 | EA | [8 empty] | EJECTOR (EJ-105) | 1000001562 | EJECTOR | EJECTOR | 1 | EA | B |  | OP |  |  | PD
62 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | EJECTOR | EJECTOR |  | 1 | EA | [8 empty] | EJECTOR (EJ-102) | 1000001559 | EJECTOR | EJECTOR | 1 | EA | B |  | OP |  |  | PD
63 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 12 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | 1ST INTER CONDENSER ACW INLET VALVE | VALVE (X-ACWV009A) | 1000002466 | VALVE:BUTTEFRFLY,WF,12 IN,150 LB,MATL. BODY:A126CL.B,MATL. DISC:CF3M,MATL. SEAT:RUB,DESIGN TEMP:50,DESIGN PRESS:4 | VALVE: BUTTEFRFLY, WF, 12 IN, 150 LB, MATL. BODY: A126CL.B, MATL. DISC: CF3M, MATL. SEAT: RUB, DESIGN TEMP: 50, DESIGN PRESS: 4 | 1 | EA | B |  | OP |  |  | PD
64 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 8 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | 2ND AFTER CONDENSER ACW INLET VALVE | VALVE (X_ACWV010A) | 1000002461 | VALVE:BUTTEFRFLY,WF,8 IN,150 LB,MATL. BODY:A126CL.B,MATL. DISC:CF3M,MATL. SEAT:RUB,DESIGN TEMP:50,DESIGN PRESS:4 | VALVE: BUTTEFRFLY, WF, 8 IN, 150 LB, MATL. BODY: A126CL.B, MATL. DISC: CF3M, MATL. SEAT: RUB, DESIGN TEMP: 50, DESIGN PRESS: 4 | 1 | EA | B |  | OP |  |  | PD
65 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | CHECK | 1 | SET |  | 12 IN |  | BODY: SSF316L, DISC: WP316L, SEAT: STEEL |  | PROSSES CONN: WF | PRESS: 150LB | GAS OUTLET CHECK VALVE | VALVE (X-CVV002A) | 1000002541 | VALVE:DUAL CHECK,WF,12 IN,150 LB,MATL. BODY:SUSF316L,MATL. DISC:WP316L,MATL. SEAT:STELLITE,DESIGN TEMP:50,DESIGN PRESS:1 | VALVE: DUAL CHECK, WF, 12 IN, 150 LB, MATL. BODY: SUSF316L, MATL. DISC: WP316L, MATL. SEAT: STELLITE, DESIGN TEMP: 50, DESIGN PRESS: 1 | 1 | EA | B |  | OP |  |  | PD
66 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 12 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER |  | PRESS: 150LB | PROSSES CONN: WF | GAS OUTLET STOP VALVE (A) | VALVE (X-CVV019A) | 1000002552 | VALVE:BUTTEFRFLY,WF,12 IN,150 LB,MATL. BODY:A126CL.B,MATL. DISC:CF8M,MATL. SEAT:RUB,DESIGN TEMP:50,DESIGN PRESS:1 | VALVE: BUTTEFRFLY, WF, 12 IN, 150 LB, MATL. BODY: A126CL.B, MATL. DISC: CF8M, MATL. SEAT: RUB, DESIGN TEMP: 50, DESIGN PRESS: 1 | 1 | EA | B |  | OP |  |  | PD
67 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 4 IN |  | CF8M, TEFLON |  | PROSSES CONN: WF | PRESS: 150LB | VACCUM PUMP CV BY-PASS VALVE | VALVE (X-CVV017A) | 1000002547 | VALVE:BUTTEFRFLY,4 IN,150 LB,MATL. BODY:CF8M,MATL. DISC:CF8M,MATL. SEAT:TEF,DESIGN TEMP:50,DESIGN PRESS:1.0/FV | VALVE: BUTTEFRFLY, 4 IN, 150 LB, MATL. BODY: CF8M, MATL. DISC: CF8M, MATL. SEAT: TEF, DESIGN TEMP: 50, DESIGN PRESS: 1.0/FV | 1 | EA | B |  | OP |  |  | PD
68 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VALVE | VALVE | BUTTERFLY | 1 | SET |  | 14 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER | KEYSTONE | PRESS: 150LB | PROSSES CONN: WF | GRS CW MAIN STOP VALVE A (X-ACWV008A) |  | 1000002463 | VALVE:BUTTEFRFLY,WF,14 IN,150 LB,MATL. BODY:A126CL.B,MATL. DISC:CF8M,MATL. SEAT:RUB,DESIGN TEMP:50,DESIGN PRESS:1 | VALVE: BUTTEFRFLY, WF, 14 IN, 150 LB, MATL. BODY: A126CL.B, MATL. DISC: CF8M, MATL. SEAT: RUB, DESIGN TEMP: 50, DESIGN PRESS: 1 | 1 | EA | B |  | OP |  |  | PD
69 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | SEAL | PUMP |  | 1 | SET | TDF-1200-E00-4T1-2220-002 | 1 IN |  |  | MAGNETROL | PROSSES CONN: NPT | VACUUM PUMP A SEAL WATER |  | A1-FS-1346A (FLOW SWITCH) | 1000001050 | VACUUM PUMP A SEAL WATER SUFFICIENT,WWIP | VACUUM PUMP A SEAL WATER SUFFICIENT, WWIP | 1 | SET | B |  | OP |  |  | PD
70 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 14 IN |  | FRP |  | PRESS: 150LB | ACW SUPPLY PIPE |  | PIPE ACW030A | 1000000384 | PIPE:14 IN,150 LB,MATL:FRP | PIPE: 14 IN, 150 LB, MATL: FRP | 1 | M | B |  | OP |  |  | PD
71 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 2 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | EDS DRAIN PIPING FOR GRS (A) |  | PIPE (1-AS505A) | 1000000111 | PIPE:2 IN,150 LB,MATL:A312 TP316L | PIPE: 2 IN, 150 LB, MATL: A312 TP316L | 1 | M | B |  | OP |  |  | PD
72 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 30 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | NCG EXTRACTION PIPE FOR GRS (B) 1ST STAGE EJECTOR |  | PIPE (CV006A) | 1000001527 | PIPE:30 IN,150 LB,MATL:A312 TP316L | PIPE: 30 IN, 150 LB, MATL: A312 TP316L | 1 | M | B |  | OP |  |  | PD
73 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 12 IN |  | FRP |  | PRESS: 150LB | ACW SUPPLY PIPE FOR GRS (A) INTER CONDENSER |  | PIPE (1-ACW029A) | 1000000105 | PIPE:12 IN,150 LB,MATL:FRP | PIPE: 12 IN, 150 LB, MATL: FRP | 1 | M | B |  | OP |  |  | PD
74 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 18 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | GRS (A) NCG EXTRACTION PIPE FROM INTER CONDENSER |  | PIPE (CV007A) | 1000001530 | PIPE:18 IN,150 LB,MATL:A312 TP316L | PIPE: 18 IN, 150 LB, MATL: A312 TP316L | 1 | M | B |  | OP |  |  | PD
75 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 24 IN |  | FRP |  | PRESS: 150LB | GRS (A) INTER CONDENSER DRAIN |  | PIPE (ED001A) | 1000001550 | PIPE:20 IN,150 LB,MATL:FRP | PIPE: 20 IN, 150 LB, MATL: FRP | 1 | M | B |  | OP |  |  | PD
76 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 14 IN,10 IN |  | ASTM A312-TP316L |  | PRESS: 150LB | GRS (A) NCG EXTRACTION PIPE FROM AFTER CONDENSER |  | PIPE (CV008A) | 1000001533 | PIPE:14 IN,150 LB,MATL:A312 TP316L | PIPE: 14 IN, 150 LB, MATL: A312 TP316L | 1 | M | B |  | OP |  |  | PD
77 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | PIPE | PIPE | LINE | 1 | JT |  | 16 IN |  | FRP |  | PRESS: 150LB | NCG EXHAUST PIPE TO COOLING TOWER FAN STACK |  | PIPE (CV010A) | 1000001535 | PIPE:16 IN,150 LB,MATL:FRP | PIPE: 16 IN, 150 LB, MATL: FRP | 1 | M | B |  | OP |  |  | PD
78 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | TRANSMITTER | TRANSMITTER |  | 1 | EA | [8 empty] | A1_TE1530A | 1000002729 | TRANSMITTER:TEMPERATURE,0-150,IEC-34,SHMT:F11,APPROPRI ATE. DIA.:D9709620,NOR TEMP:130,DESIGN TEMP:140,DCS,PT100Ω | TRANSMITTER: TEMPERATURE, 0-150, IEC-34, SHMT: F11, APPROPRI ATE. DIA.: D9709620, NOR TEMP: 130, DESIGN TEMP: 140, DCS, PT100Ω | 1 | EA | B |  | OP |  |  | PD
79 | [7 empty] | DWG:WWP-MP-0070 |  |  |  | VESSEL | VESSEL |  | 1 | SET | [8 empty] | VESSEL (E-102) | 1000001541 | VESSEL:341 M3/H | VESSEL: 341 M3/H | 1 | SET | B |  | OP |  |  | PD
80 | [7 empty] | DWG:C-703742 |  | P/N:C-703849 |  | BODY WELDMENT | BODY |  | 1 | EA |  |  |  | PLATE SA-240-SS316L | NASH U.S. |  |  |  | EJECTOR (EJ-102) | 1000001559 | BODY WELDMENT:DWG:C-703742,P/N:C-703849,PLATE SA-240-316L,NASH U.S. | BODY WELDMENT: DWG: C-703742, P/N: C-703849, PLATE SA-240-316L, NASH U.S. | 1 | EA | B |  | OP |  |  | PD
81 | [7 empty] | DWG:C-703742 |  | P/N:AS-103792 |  | STEAM CHEST | STEM |  | 1 | EA |  |  |  | SA-479-SS316L | NASH U.S. |  |  |  | EJECTOR (EJ-102) | N/A | STEAM CHEST:DWG:C-703742,P/N:AS-103792,SA-479-316L,NASH U.S. | STEAM CHEST: DWG: C-703742, P/N: AS-103792, SA-479-316L, NASH U.S. | 1 | EA | B |  | OP |  |  | PD
82 | [7 empty] | DWG:C-703742 |  | P/N:AN-107641 |  | MOTIVE NOZZLE | NOZZLE |  | 1 | EA |  |  |  | SA-182-SS316L | NASH U.S. |  |  |  | EJECTOR (EJ-102) | N/A | MOTIVE NOZZLE:DWG:C-703742,P/N:AN-107641,SA-182-316L,NASH U.S. | MOTIVE NOZZLE: DWG: C-703742, P/N: AN-107641, SA-182-316L, NASH U.S. | 1 | EA | B |  | OP |  |  | PD
83 | [7 empty] | DWG:C-703742 |  |  |  | GASKET | GASKET | FLANGE NON-SPIRAL | 1 | EA | FULL FACE | 10 IN |  | ASTM A312-TP316L | NASH U.S. |  |  |  | EJECTOR (EJ-102) | 8548610501 | GASKET:DWG:C-703742,FULL FACE,10 IN,SA-312-TP316L,NASH U.S. | GASKET: FLANGE NON-SPIRAL, TYPE FULL FACE, PIPE SIZE 10 IN, PRESSURE RATING 150 PSI, MATERIAL ASBESTOS, INSIDE DIAMETER 275MM, OUTSIDE DIAMETER 405MM, THICKNESS 2MM | 1 | EA | B |  | OP |  |  | PD | MATENG
84 | [7 empty] | DWG:C-703742 |  | P/N:A-100530-99 |  | SPACER | ELIMINATOR |  | 1 | EA |  |  |  |  | NASH U.S. |  |  |  | EJECTOR (EJ-102) | 4332900263 | SPACER:DWG:C-703742,P/N:A-100530-99,NASH U.S. | ELIMINATOR: TYPE DRIVE SHAFT, MATERIAL STAINLESS, EQUIPMENT NAME COOLING TOWER, MANUFACTURER REFERENCE 600668 | 1 | EA | B |  | OP |  |  | PD | MATENG
85 | [7 empty] | DWG:C-703742 |  |  |  | NUT | NUT | HEX | 12 | EA | 7/8-9-HEX |  |  | STAINLESS STEEL | NASH U.S. |  |  |  | EJECTOR (EJ-102) | N/A | NUT:DWG:C-703742,P/N:7/8-9-HEX,STN. STEEL,NASH U.S. | NUT: DWG: C-703742, P/N: 7/8-9-HEX, STN. STEEL, NASH U.S. | 12 | EA | B |  | OP |  |  | PD
86 | [7 empty] | DWG:C-703742 |  | P/N:A-100530-110 |  | SPACER | ELIMINATOR |  | 1 | EA |  |  |  |  | NASH U.S. |  |  |  | EJECTOR (EJ-105) | 4332900263 | SPACER:DWG:C-703742,P/N:A-100530-110,NASH U.S. | ELIMINATOR: TYPE DRIVE SHAFT, MATERIAL STAINLESS, EQUIPMENT NAME COOLING TOWER, MANUFACTURER REFERENCE 600668 | 1 | EA | B |  | OP |  |  | PD | MATENG
87 | [7 empty] | DWG:C-703742 |  |  |  | NUT | NUT | HEX | 8 | EA | 3/4-10-HEX |  |  | STAINLESS STEEL | NASH U.S. |  |  |  | EJECTOR (EJ-105) | N/A | NUT:DWG:C-703742,P/N:3/4-10-HEX,STN. STEEL,NASH U.S. | NUT: DWG: C-703742, P/N: 3/4-10-HEX, STN. STEEL, NASH U.S. | 8 | EA | B |  | OP |  |  | PD
88 | [7 empty] | DWG:D-802370 |  |  |  | STEAM PRESS GAUGE | GAUGE | PRESSURE | 1 | EA | [5 empty] | 04L-0/10 KG/CM2 (A1-PI-0212A) |  |  | PIPE (1-AS103A) | 6038170241 | STEAM PRESS GAUGE:DWG:D-802370,04L-0/10 KG/CM2 (A1-PI-0212A) | GAUGE: PRESSURE, RANGE 0 TO 60 BAR, DIAL SIZE 150MM, SIZE/CONNECTION 1/2 IN MALE NPT, CASE MATERIAL BLACK EPOXY ALUMINUM, TUBE MATERIAL STAINLESS STEEL 316, CONNECTION MATERIAL STAINLESS STEEL 316, CONNECTION LOCATION LOWER BACK, MOUNT DIRECT, FILLED GLYCERINE, ACTUATION TYPE BOURDON TUBE, ACCURACY +/-1% FS, SPECIAL FEATURES SAFETY GLASS | 1 | EA | B |  | OP |  | V1 |  | MATENG
89 | [7 empty] | DWG:D-802370 |  |  |  | STEAM PRESS GAUGE | GAUGE | PRESSURE | 1 | EA |  |  |  | 1279SS | ASHCROFT | 04L-0/10 KG/CM2 (A1-PI-0211A) |  |  | PIPE (1-AS505A) | 6038170241 | STEAM PRESS GAUGE:DWG:D-802370,1279SS,ASHCROFT,04L-0/10 KG/CM2 (A1-PI-0211A) | GAUGE: PRESSURE, RANGE 0 TO 60 BAR, DIAL SIZE 150MM, SIZE/CONNECTION 1/2 IN MALE NPT, CASE MATERIAL BLACK EPOXY ALUMINUM, TUBE MATERIAL STAINLESS STEEL 316, CONNECTION MATERIAL STAINLESS STEEL 316, CONNECTION LOCATION LOWER BACK, MOUNT DIRECT, FILLED GLYCERINE, ACTUATION TYPE BOURDON TUBE, ACCURACY +/-1% FS, SPECIAL FEATURES SAFETY GLASS | 1 | EA | B |  | OP |  | V1 |  | MATENG
90 | [7 empty] | DWG:D-802370 |  |  |  | TEMPERATURE GAUGE | THERMOMETER | DIAL | 1 | EA | THERMOWELL |  |  |  | ASHCROFT | 0-100 DEG C WITH THERMOWELL FOR 3/4" CONN (A1-TI-1512A) |  |  | PIPE (1-ACW029A) | 6042100101 | TEMPERATURE GAUGE:DWG:D-802370,THERMOWELL,ASHCROFT,0-100 DEG C WITH THERMOWELL FOR 3/4" CONN (A1-TI-1512A) | THERMOMETER: DIAL, RANGE 0 TO 200 DEG C, STEM LENGTH 63MM, DIAL DIAMETER 70MM, SIZE/CONNECTION 1/2 IN MALE NPT, CONNECTION LOCATION LOWER, MATERIAL STAINLESS STEEL 304, FILLED SILICONE, PROTECTION CLASS IP66 | 1 | EA | B |  | OP |  |  |  | MATENG
91 | [7 empty] | DWG:D-802370 |  |  |  | SEAL LINE PRESSURE INDICATOR W/ BLOCK | VALVE | BALL | 1 | SET | COMPOUND |  |  | SS316 | ASHCROFT | 45-1279-04L-30"/0/40/PSI,1/2" NPT BALL VALVE (A1-PI-1345A) |  |  | PIPE (1-ACW027A) | 7589191191 | SEAL LINE PRESSURE INDICATOR W/ BLOCK:DWG:D-802370,COMPOUND,316SS,ASHCROFT,45-1279-04L-30"/0/40/PSI,1/2" NPT BALL VALVE (A1-PI-1345A) | VALVE: BALL, SIZE 1/2 IN, DESIGN RATING 2000 PSI, CONNECTION FEMALE NPT, BODY MATERIAL STAINLESS STEEL 316 ASTM A351-CF8M, TRIM REINFORCED PTFE SEAT, SS316 BALL & STEM, PORT FULL, TYPE 2 PIECE BODY, OPERATED HAND LEVER, TEMPERATURE RATING 0 TO 400 DEG F, SOFTGOODS PTFE SEALS, CONFIGURATION 2-WAY | 1 | EA | B |  | OP |  |  | PD | MATENG
92 | [7 empty] | DWG:D-802370 |  |  |  | CONDENSER LEVEL GAUGE | GAUGE | LEVEL | 1 | EA |  |  |  |  | PENBHERTY REFLEX | CONTER-TO-CENTER: 30",1/2" NPT END CONN (A1-LI-1512A) |  |  | PIPE (ED001A) | N/A | LEVEL GAUGE:DWG:D-802370,PENBHERTY REFLEX,CONTER-TO-CENTER:30",1/2" NPT END CONN (A1-LI-1512A) | LEVEL GAUGE: DWG: D-802370, PENBHERTY REFLEX, CONTER-TO-CENTER: 30", 1/2" NPT END CONN (A1-LI-1512A) | 1 | EA | B |  | OP |  |  | PD
93 | [7 empty] | DWG:D-802370 |  |  |  | VACUUM GAUGE | GAUGE | COMPOUND | 1 | EA |  |  |  | 1379SS | ASHCROFT | 04L-0/760 MM (A1-PI-1510A) |  |  | PIPE (CV006A) | 6038190921 | VACUUM GAUGE:DWG:D-802370,1379SS,ASHCROFT,04L-0/760 MM (A1-PI-1510A) | GAUGE: COMPOUND, RANGE -1 TO 0 BAR, DIAL SIZE 100MM, SIZE/CONNECTION 1/2 IN MNPT, CASE MATERIAL STAINLESS STEEL 304, TUBE MATERIAL STAINLESS STEEL 316L, CONNECTION MATERIAL STAINLESS STEEL 316L, CONNECTION LOCATION LOWER, MOUNT DIRECT, FILLED DRY, SPECIAL FEATURES SAFETY GLASS | 1 | EA | B |  | OP |  |  | PD | MATENG
94 | [7 empty] | DWG:D-802370 |  |  |  | VACUUM GAUGE | GAUGE | COMPOUND | 1 | EA |  |  |  | 1379SS | ASHCROFT | 04L-0/760 MM (A1-PI-1516A) |  |  | PIPE (CV008A) | 6038190921 | VACUUM GAUGE:DWG:D-802370,1379SS,04L-0/760 MM (A1-PI-1516A) | GAUGE: COMPOUND, RANGE -1 TO 0 BAR, DIAL SIZE 100MM, SIZE/CONNECTION 1/2 IN MNPT, CASE MATERIAL STAINLESS STEEL 304, TUBE MATERIAL STAINLESS STEEL 316L, CONNECTION MATERIAL STAINLESS STEEL 316L, CONNECTION LOCATION LOWER, MOUNT DIRECT, FILLED DRY, SPECIAL FEATURES SAFETY GLASS | 1 | EA | B |  | OP |  |  | PD | MATENG
95 | [7 empty] | DWG:PL217712 |  |  |  | ACTUATOR | ACTUATOR |  | 1 | SET |  | 14 IN |  | BODY: A126CL.B, DISK: CF8M, SEAT: RUBBER | FUJI ELECTRIC SYSTEMS CO.,LTD. | PRESS: 150LB | PROSSES CONN: WF | ACTUATOR X-ACWV008A |  | 1000003447 | ACTUATOR:DWG:PL217712,X-ACWV008A,BUTTERFLY VALVE,NB:14 INCHI,RATING:150 LB,BODY:A126CL.B,DISC:CF3M,SEAL:RUB,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWVA,SUB CLASS:WWVABP,PROSSES CONN:WF,DESIGN PRESS:4,DESIGN TEMP:50.0 | ACTUATOR: DWG: PL217712, X-ACWV008A, BUTTERFLY VALVE, NB: 14 INCHI, RATING: 150 LB, BODY: A126CL.B, DISC: CF3M, SEAL: RUB, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWVA, SUB CLASS: WWVABP, PROSSES CONN: WF, DESIGN PRESS: 4, DESIGN TEMP: 50.0 | 1 | EA | B |  | OP |  |  | PD
96 | [7 empty] | DWG:PL217712 |  |  |  | ACTUATOR | ACTUATOR |  | 1 | SET |  | 6 IN,RATING:150 LB |  | BODY:WCB,DISC:WCB,SEAT:STEL | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWVA,SUB CLASS:WWVAGA | PROSSES CONN:FL,DESGIN PRESS:14,DESIGN TEMP:198.0 | ACTUATOR (X-ASV101A-A) |  | 1000002497 | ACTUATOR:DWG:PL217712,X-ASV101A-A,WEDGE GATE VALVE,NB:6 INCHI,RATING:150 LB,BODY:WCB,DISC:WCB,SEAL:STEL,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWVA,SUB CLASS:WWVAGA,PROSSES CONN:FL,DESGIN PRESS:14,DESIGN TEMP:198.0 | ACTUATOR: DWG: PL217712, X-ASV101A-A, WEDGE GATE VALVE, NB: 6 INCHI, RATING: 150 LB, BODY: WCB, DISC: WCB, SEAL: STEL, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWVA, SUB CLASS: WWVAGA, PROSSES CONN: FL, DESGIN PRESS: 14, DESIGN TEMP: 198.0 | 1 | EA | B |  | OP |  |  | PD
97 | [7 empty] | DWG:PL217712 |  |  |  | ACTUATOR | ACTUATOR |  | 1 | SET |  | 30 IN,RATING:150 LB |  | BODY:CF3M,DISC:CF3M,SEAT:STEL | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWVA,SUB CLASS:WWVAGA | PROSSES CONN:FL,DESGIN PRESS:1.0/FV,DESIGN TEMP:50.0 | ACTUATOR (X-CVV001A-A) |  | 1000002536 | ACTUATOR:DWG:PL217712,X-CVV001A-A,WEDGE GATE VALVE,NB:30 INCHI,RATING:150 LB,BODY:CF3M,DISC:CF3M,SEAL:STEL,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWVA,SUB CLASS:WWVAGA,PROSSES CONN:FL,DESGIN PRESS:1.0/FV,DESIGN TEMP:50.0 | ACTUATOR: DWG: PL217712, X-CVV001A-A, WEDGE GATE VALVE, NB: 30 INCHI, RATING: 150 LB, BODY: CF3M, DISC: CF3M, SEAL: STEL, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWVA, SUB CLASS: WWVAGA, PROSSES CONN: FL, DESGIN PRESS: 1.0/FV, DESIGN TEMP: 50.0 | 1 | EA | B |  | OP |  |  | PD
98 | [7 empty] | DWG:PL217712 |  |  |  | ACTUATOR | ACTUATOR |  | 1 | SET |  | 4 IN,RATING:150 LB |  | BODY:CF8M,DISC:CF8M,SEAT:TEFLON | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWVA,SUB CLASS:WWVABP | PROSSES CONN:WF,DESGIN PRESS:1.0/FV,DESIGN TEMP:50.0 | ACTUATOR (X-CVV017A-A) |  | 1000002548 | ACTUATOR:DWG:PL217712,X-CVV017A-A,BUTTERFLY VALVE,NB:4 INCHI,RATING:150 LB,BODY:CF8M,DISC:CF8M,SEAL:TEF,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWVA,SUB CLASS:WWVABP,PROSSES CONN:WF,DESGIN PRESS:1.0/FV,DESIGN TEMP:50.0 | ACTUATOR: DWG: PL217712, X-CVV017A-A, BUTTERFLY VALVE, NB: 4 INCHI, RATING: 150 LB, BODY: CF8M, DISC: CF8M, SEAL: TEF, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWVA, SUB CLASS: WWVABP, PROSSES CONN: WF, DESGIN PRESS: 1.0/FV, DESIGN TEMP: 50.0 | 1 | EA | B |  | OP |  |  | PD
99 | [7 empty] | DWG:PL217712 |  |  |  | SWITCH | SWITCH | LIMIT | 1 | EA |  |  |  |  | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWFI,SUB CLASS:WWFILP |  |  |  | 1000001166 | SWITCH:LIMIT,DWG:PL217712,A1-ZSH-0210A,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWFI,SUB CLASS:WWFILP | SWITCH: LIMIT, DWG: PL217712, A1-ZSH-0210A, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWFI, SUB CLASS: WWFILP | 1 | EA | B |  | OP |  |  | PD
100 | [7 empty] | DWG:PL217712 |  |  |  | SWITCH | SWITCH | LIMIT | 1 | EA |  |  |  |  | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWFI,SUB CLASS:WWFILP |  |  |  | 1000001179 | SWITCH:LIMIT,DWG:PL217712,A1-ZSL-0210A,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWFI,SUB CLASS:WWFILP | SWITCH: LIMIT, DWG: PL217712, A1-ZSL-0210A, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWFI, SUB CLASS: WWFILP | 1 | EA | B |  | OP |  |  | PD
101 | [7 empty] | DWG:PL217712 |  |  |  | SWITCH | SWITCH | LIMIT | 1 | EA |  |  |  |  | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWFI,SUB CLASS:WWFILP |  |  |  | 1000001176 | SWITCH:LIMIT,DWG:PL217712,A1-ZSH-1520A,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWFI,SUB CLASS:WWFILP | SWITCH: LIMIT, DWG: PL217712, A1-ZSH-1520A, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWFI, SUB CLASS: WWFILP | 1 | EA | B |  | OP |  |  | PD
102 | [7 empty] | DWG:PL217712 |  |  |  | SWITCH | SWITCH | LIMIT | 1 | EA |  |  |  |  | FUJI ELECTRIC SYSTEMS CO.,LTD. | CLASS:WWFI,SUB CLASS:WWFILP |  |  |  | 1000001189 | SWITCH:LIMIT,DWG:PL217712,A1-ZSL-1520A,FUJI ELECTRIC SYSTEMS CO.,LTD.,CLASS:WWFI,SUB CLASS:WWFILP | SWITCH: LIMIT, DWG: PL217712, A1-ZSL-1520A, FUJI ELECTRIC SYSTEMS CO., LTD., CLASS: WWFI, SUB CLASS: WWFILP | 1 | EA | B |  | OP |  |  | PD
103 | [7 empty] | DWG:PL217712 |  |  |  | VALVE | VALVE | GATE | 1 | SET |  | 2 IN ,RATING:150 LB |  | BODY: CF3M, DISC: A182-F316L, SEAT: STEEL |  | CLASS:WWVA,SUBCLASS:WWVAGA,PROSSES CONN:SW | DESIGN PRESS:14,DESIGN TEMP:198.0 | OUTLET VALVE | STEAM TRAP (X-TR110A) | 7556380821 | VALVE:DWG:PL217712,X-ASV511A,WEDGE GATE VALVE,NB:2 INCH,RATING:150 LB,BODY:CF3M,DISC:A182-F316L,SEAT:STEL,CLASS:WWVA,SUBCLASS:WWVAGA,PROSSES CONN:SW,DESIGN PRESS:14,DESIGN TEMP:198.0 | VALVE: GATE, SIZE 2 IN, DESIGN RATING 150 PSI, CONNECTION RF FLANGE, BODY MATERIAL STAINLESS STEEL ASTM A182-F316L, TRIM ASTM A182-F316L BONNET, STEM, SEAT & DISC, PORT FULL, OPERATED HANDWHEEL, SOFTGOODS GRAPHITE PACKING, STYLE BOLTED BONNET, STEM DESIGN RISING STEM OS&Y, SPECIAL FEATURES API 602 | 1 | EA | B |  | OP |  |  | PD | MATENG
104 | [7 empty] | DWG:PL217712 |  |  |  | VALVE | VALVE | BALL | 1 | SET |  | 2 IN ,RATING:150 LB |  | BODY: CF3M, DISC: A182-F316L, SEAT: STEEL |  | CLASS:WWVA,SUBCLASS:WWVAGL,PROSSES CONN:SW | DESIGN PRESS:14,DESIGN TEMP:198.0 | BY-PASS VALVE | STEAM TRAP (X-TR110A) | 7528080201 | VALVE:DWG:PL217712,X-ASV512A,GLOBE VALVE,NB:2 INCH,RATING:150 LB,BODY:CF3M,DISC:A182-F316L,SEAT:STEL,CLASS:WWVA,SUBCLASS:WWVAGL,PROSSES CONN:SW,DESIGN PRESS:14,DESIGN TEMP:198.0 | VALVE: BALL, SIZE 2 IN, DESIGN RATING 150 PSI, CONNECTION RF FLANGE, BODY MATERIAL CAST STEEL ASTM A216-WCB, OPERATED HAND LEVER | 1 | EA | B |  | OP |  |  | PD | MATENG
105 | [7 empty] | DWG:PL217712 |  |  |  | VALVE | VALVE | GATE | 1 | SET |  | 1 IN ,RATING:150 LB |  | BODY: CF3M, DISC: A182-F316L, SEAT: STEEL |  | CLASS:WWVA,SUBCLASS:WWVAGA,PROSSES CONN:SW | DESIGN PRESS:14,DESIGN TEMP:198.0 | AFTER DRAIN VALVE | STEAM TRAP (X-TR110A) | N/A | VALVE:DWG:PL217712,X-ASV518A,WEDGE GATE VALVE,NB:1 INCH,RATING:150 LB,BODY:CF3M,DISC:A182-F316L,SEAT:STEL,CLASS:WWVA,SUBCLASS:WWVAGA,PROSSES CONN:SW,DESIGN PRESS:14,DESIGN TEMP:198.0 | VALVE: DWG: PL217712, X-ASV518A, WEDGE GATE VALVE, NB: 1 INCH, RATING: 150 LB, BODY: CF3M, DISC: A182-F316L, SEAT: STEL, CLASS: WWVA, SUBCLASS: WWVAGA, PROSSES CONN: SW, DESIGN PRESS: 14, DESIGN TEMP: 198.0 | 1 | EA | B |  | OP |  |  | PD
Note on I1: Microsoft Office User: 11
Note on J1: Microsoft Office User: 12
Note on K1: Microsoft Office User: 13
Note on N1: Microsoft Office User: 1
Note on O1: Microsoft Office User: 2
Note on R1: Microsoft Office User: 3
Note on S1: Microsoft Office User: 4
Note on T1: Microsoft Office User: 6
Note on U1: Microsoft Office User: 5
Note on V1: Microsoft Office User: 14
Note on W1: Microsoft Office User: 7
Note on X1: Microsoft Office User: 8
Note on Y1: Microsoft Office User: 9
Note on Z1: Microsoft Office User: 10